## Slide 1: How Power Plants Work

## Slide 2: Smoke or steam?
Figure: Allegheny Sierra Club
Notes: http://alleghenysc.org/wp-content/uploads/2009/07/shippingsport.jpg

## Slide 3: Key Takeaways
“This increase [in atmospheric concentration of CO2 and other GHGs] is primarily the result of burning coal, oil and natural gas…”
“To stop serious climate change, we will have to reduce global CO2 emissions by about 80%. That means an enormous change in the world’s energy systems.”

## Slide 4: Where does electricity come from?
Power plants (coal, natural gas, nuclear), hydro-dams, wind turbines, solar panels
Which provides the most electricity for us?
  Coal
  Natural Gas
  Nuclear
  Hydro
  Everything else
Notes: Which provides the most

## Slide 5: How to calculate emissions due to electricity produced by different fuel types?
Total Emissions
Emissions Factor
Conversion Efficiency
Fuel Carbon Intensity
Electricity Generated

## Slide 6: U.S. electric energy mix
Figure: Environmental Protection Agency
Notes: http://www.epa.gov/cleanenergy/images/pie_chart_fuel_mix.png

## Slide 7: Year 2009 Generation by Fuel Type
Figure: eGrid 2012
Notes: http://www.epa.gov/cleanenergy/energy-resources/egrid/index.html

## Slide 8
Coal Plants
Figure: eGrid 2012
Notes: 600 coal plants
Provide 50% of electricity
http://www.epa.gov/cleanenergy/energy-resources/egrid/index.html

## Slide 9
Natural Gas
Figure: eGrid 2012
Notes: Mostly in CA, TX, FL
About 500 natural gas plants, but smaller than coal
http://www.epa.gov/cleanenergy/energy-resources/egrid/index.html

## Slide 10: How to calculate emissions due to electricity produced by different fuel types?
Total Emissions
Emissions Factor
Conversion Efficiency
Fuel Carbon Intensity
Electricity Generated

## Slide 11: Fuel Carbon Intensity
Chart: Common Electric Generation Fuels and Their Carbon Dioxide Emissions Factors
| Coal | Natural Gas | Distillate Fuel Oil
 | 96 | 53 | 73
http://www.eia.gov/oiaf/1605/coefficients.html

## Slide 12: How to calculate emissions due to electricity produced by different fuel types?
Total Emissions
Emissions Factor
Conversion Efficiency
Fuel Carbon Intensity
Electricity Generated

## Slide 13: Demonstration
Play around with pinwheels, finding right angle to blow in order to get them spinning fast.
Hold two pinwheels in line and blow such that they both spin. Observe speed of second (downwind) pinwheel. Remove first pinwheel and observe change in speed in second. Why does this occur?
Is all of the energy in your breath converted into rotational energy of pinwheel?
How could you increase the fraction of breath energy converted into rotational energy?
What is efficiency and how does it relate to what we have just done?

## Slide 14: Steam Turbine (Coal shown here)
Figure Source: CO2CRC
Notes: http://www.co2crc.com.au/images/imagelibrary/cap_diag/coal-fired-power-plant_media.jpg

## Slide 15: Gas turbine (college campus)
Figure Source: University of Calgary
Notes: http://www.ucalgary.ca/news/files/news/images/cogen_diagram.jpg

## Slide 16: Natural Gas Combined Cycle Plant
Figure: Northwest and Intermountain Power Producers Coalition
Notes: http://www.nippc.org/technology/index.tpl?cntid=105475498113479

## Slide 17: Efficiencies
Type | Efficiency
Steam Turbine (coal, oil, gas) | 30%-40%
Gas Turbine | 25%-50%
Combined Cycle | 45%-70%

## Slide 18: How to calculate emissions due to electricity produced by different fuel types?
Total Emissions
Emissions Factor
Conversion Efficiency
Fuel Carbon Intensity
Electricity Generated

## Slide 19: Summary
Total Emissions
Emissions Factor
Conversion Efficiency
Fuel Carbon Intensity
Electricity Generated
Coal: High
Oil: Medium
Natural Gas: Low
Steam Turbine (Coal, Gas, Oil): Low-Medium
Gas Turbine: Low-Medium
Gas Combined Cycle: Medium-High
Coal: High
Gas: Medium
Oil: Low
Coal: High
Gas: Medium
Oil: Abiguous

## Slide 20: Summary
Figure Source: CO2CRC
Notes: http://www.co2crc.com.au/images/imagelibrary/cap_diag/coal-fired-power-plant_media.jpg

## Slide 21: What do we do?
Some ideas:
Energy efficiency
Demand reduction
CCS
Renewables